Fire Safety and Emergency Evacuation

Updated:                                                        For review:

March 2020							   March 2021

Fire Safety and Emergency Evacuation

Introduction

The Development/PlayVan Worker is familiar with the current legal requirements and obtains copies of each premises’ Fire Safety and PAT testing records. Where necessary advice of a competent person, such as a Fire Officer, or Fire Safety Consultant is sought.

Procedures

- The basis of fire safety is risk assessment. These are carried out by a ‘competent person’.

- The Development/PlayVan Worker has received training in fire safety sufficient to be competent to carry out a written risk assessment. This will follow the guidance as set out in the Fire Safety Risk Assessment – Educational Premises document.

- Fire doors are clearly marked, never obstructed and easily opened from the inside.

- Smoke detectors/alarms and fire fighting appliances conform to BSEN standards, are fitted in appropriate high-risk areas of the building and are checked as specified by the manufacturer.

- Our emergency evacuation procedures are approved by the Fire Safety Officer and are clearly displayed in the premises; explained to new members of staff, volunteers and parents; and practised regularly at least once every half term.

- Records are kept of fire drills and the servicing of fire safety equipment in the fire safety file in the office.

Emergency evacuation procedure

Practice drills include:

- Familiarising the children and adults with the sound of the fire alarm.

- Familiarising the children and adults with the fire exits.

- Practising how children and adults are led from the building to the assembly point.

- Practising how they will be accounted for and who by.

- Monitoring how long it takes to get the children and adults out safely.

- Clear responsibility for who calls the emergency services and when in the event of a real fire.

The fire drill record contains:

- Date and time of the drill.

- The number of children and adults present.

- How long it took.

- Whether there were any problems that delayed evacuation.

- Any further action taken to improve the drill procedure.

Refer also to the Heath and Safety Policy.

This policy was adopted by the PlayVan Trustees on ………………………………………

Signed by Chair of the PlayVan ………………………………………………………….

Review date ……………………………………….